WATERPROOFING SYSTEM

ALSAN TRAFIK HP 500

PARKING DECKS

FOR A COMPLETE DESCRIPTION OF PRODUCTS AND APPLICABLE STANDARDS, PLEASE REFER TO THE TECHNICAL DATA SHEETS (SOPREMA SPECIFICATIONS MANUAL OR WEB SITE WWW.SOPREMA.CA).

PLEASE CONTACT A SOPREMA REPRESENTATIVE TO ASSIST IN THE DESIGN OF SPECIFICATIONS FOR A PARTICULAR PROJECT.

THE ELECTRONIC VERSION OF SOPREMA SPECS IS AVAILABLE ON OUR WEB SITE: WWW.SOPREMA.CA.

# GENERAL

## DESCRIPTION

### This section specifies the requirements for the supply and installation of the elements required for waterproofing and coating of traffic areas, including preparation of surfaces; primer; waterproofing, wear and finishing membranes.

### Waterproofing membrane system: ALSAN TRAFIK HP 500 by SOPREMA.

## [RELATED WORK]

### Division [              ] [              ]

## ADDITIONAL WORK TO BE PERFORMED BY THE CONTRACTOR

### [     ]

## TECHNICAL DOCUMENTS

### Submit two (2) copies of the most current technical data sheets. These documents must describe the physical properties of the material, [and explanations about product installation, including installation techniques.]

## CONTRACTOR QUALIFICATIONS

### Coating work shall be performed only by skilled applicators, employed by an installation contractor operating all adequate and necessary equipment to execute such work in accordance with the manufacturer’s recommendations and recognized standards.

## MANUFACTURER'S REPRESENTATIVE

### The coating materials manufacturer may delegate a representative to visit the work site at commencement of work.

### At all times, the contractor shall permit and facilitate access to the site by the manufacturer's representative cited above.

## STORAGE OF MATERIALS

### The materials will be delivered to the work site in the sealed, undamaged original containers.

### The containers must display the lot number and date of manufacture of the product.

### The materials delivered will be carefully stored [in a cool, dry area away from open flames] [and appropriately protected according to the manufacturer’s recommendations].

## QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

### The coating products manufacturer will provide proof of its ISO 9001 and ISO 14001 certifications.

## WORK SAMPLES

### Produce the work samples required in accordance with section [01 45 00 – Quality control].

### [Complete the first ten square meters] [Perform the equivalent of one day’s work] at the location [indicated] [determined by [the engineer] [the consultant]].  Do not continue the work without obtaining the approval [of the engineer] [of the consultant].

## WARRANTIES

### The coating products manufacturer will provide a written document, issued in the name of the owner, certifying that the products will meet the physical characteristics published by the manufacturer for a period of 5 years beginning at the date of substantial completion of the coating application. No letter from the manufacturer modifying its standard guarantee shall be accepted.  The certificate of guarantee must reflect these requirements.

# PRODUCTS

## PRIMERS

### Description: Two-component polyurethane resin used as a primer on concrete.

#### Characteristics:

##### Color part A :	Clear

##### Color part B :	Brownish

##### Viscosity part A (cP) :	250

##### Viscosity part B (cP) :	125

##### Solids content (%) :	100

#### Product specified: ALSAN TRAFIK HP 515 by SOPREMA.

#### OR

### Description : Two-component epoxy primer, used as a fast drying primer, increasing the subsequent adhesion of the ALSAN TRAFIK 500 system on concrete (slab on grade) and as a vapour barrier when the moisture content of the concrete slab is high.

#### Characteristics:

##### Color part A :	Yellowish

##### Color part B :	Amber

##### Viscosity part A (cP) :	400

##### Viscosity part B (cP) :	700

##### Solids content (%) :			97

#### Product specified: ALSAN TRAFIK EP 110 SOPREMA.

## WATERPROOFING MEMBRANE

### Description: Single-component polyurethane resin.

#### Characteristics:

##### Color:	Grey

##### Viscosity (cP):	1000-3000

##### Solids content (%):	75

##### Elongation at break (%) ASTM D-412:	600

##### Tensile strength (MPa) ASTM D-412:	8 (1 160 psi)

#### Product specified: TRAFIK HP 520 by SOPREMA.

## WEAR COAT

### Description: Single-component polyurethane resin.

#### Characteristics:

##### Color:	Grey, Dark Grey

##### Viscosity (cP):	2000

##### Solids content (%):	72

##### Elongation at break (%) ASTM D-412:	500

##### Tensile strength (MPa) ASTM D-412:	13 (1 885 psi)

#### Product specified: TRAFIK HP 530 by SOPREMA.

## FINISH COAT

### Description: Single-component polyurethane resin.

#### Characteristics:

##### Color:	Transparent

##### Viscosity (cP):	250

##### Solids content (%):	66

##### Elongation at break (%) ASTM D-412:	100

##### Tensile strength (MPa) ASTM D-412:	13 (1 885 psi)

#### Product specified: TRAFIK HP 540 by SOPREMA.

## ACCESSORIES

### AGGREGATE (silica sand): Minimum hardness of 6 on Moh’s scale. Dry with screening at 20 to 30 (mesh).

#### Product specified: [       ].

### CRACK SEALANTS: Polyurethane-based sealant compatible with the coating specified.

#### Product specified: ALSAN ACTIF by SOPREMA.

## DYE

### Description: Pigment paste which is added to ALSAN TRAFFIC HP 540.

### Available colours: Grey, dark grey, pebble grey, beige, white, yellow, blue, black and red.

### Properties:

#### Physical state : Liquid paste.

#### Density at 25º C (kg/L): 0.9 – 1.6 kg/L.

### Product specified: ALSAN TRAFIK COLORANT by SOPREMA.

# EXECUTION

## EXAMINATION AND PREPARATION OF SURFACES

### Surface examination and preparation must be completed in conformance with recommendations in the SOPREMA Specifications Manual.

### Before waterproofing work begins, the owner's representative and the membrane contractor’s foreman will inspect and approve substrate condition and ensure that related work has been properly executed. If necessary, a non-conformity notice will be issued to the contractor so that required corrections can be made.

### The decision to begin application of materials constitutes an implicit acceptance of the surface conditions.

### Do not begin any portion of work until surfaces are dry, free of laitance, curing compounds or other non-adhering particles, in accordance with the manufacturer's instructions and recommendations.

### Before installation of the coating system, the concrete must be cured (at least 28 days) with a minimum hardness of 24Mpa (3 500psi).

### The concrete surface must be prepared so that it respects CSP (concrete surface profiles) 3 or 4 of the International Concrete Repair Institute (ICRI). In order to obtain these profiles, shot blasting with steel balls is recommended.

### Concrete substrate should have an internal content of 75% RH (ASTM F2170) and a maximum moisture content of 1,5 kg/100m²/24h (ASTM F1869) and to be prepared as required to provide adhesion of the membrane system to substrate with a minimum bond strength of 200psi (1,4MPa) as per CAN/CSA-A23.1-04/A23.2-04 section 6B.

### Cracks of more than 1.6 mm (1/16 of an inch) must be repaired using ALSAN ACTIF.

### All upstands (walls, etc.) must also be prepared with ALSAN ACTIF.

### If needed, concrete repairs must be done with a mix of ALSAN TRAFIK EP110 and silica fume or with an appropriate product.

## METHOD OF EXECUTION

### Coating work must be executed continuously as surfaces are prepared and weather conditions permit.

### Protect adjacent surfaces against any damage resulting from installation work.

### The coating must not be installed when ambient air temperature or substrate temperature is less than 5°C.  Maintain air temperatures and structural base temperature of traffic topping installation above 5°C for 12 hours before, during and 72 hours after installation.

### Coating must not be installed in rainy weather or when precipitation is imminent. These instructions are valid for twelve hours before application, during application and for twelve hours after the application of the product.

## EQUIPMENT FOR EXECUTION OF THE WORK

### Maintain equipment and tools clean and in good working order.

## INSTALLATION OF THE CRACK SEALANT COATING

### Fill the cracks using the crack sealant coating specified.

## APPLICATION OF PRIMER (polyurethane : Alsan Trafik HP 515)

### Remove the lid, remove the plastic insert (Part B) and pour the entire content into Part A.

### Mix thoroughly for at least 2 to 3 minutes with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a homogeneous consistency.

### Cover the surface with a primer using a roller or a flat squeegee to reach covering rate.

### Pot life mixing is 50 minutes at 25°C (77°F).

### Once primed, the surface must have a wet look finish. The primer must be completely set before application of the waterproofing membrane (maximum recoat window 36h).

## APPLICATION OF PRIMER (epoxy : Alsan Trafik EP110)

### Remove the lids of part A and part B. Pour completely part B in part A (and vice-versa) repeatedly to be sure that all the product of each party was used.

### Mix thoroughly for at least 1 minute with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a homogeneous consistency.

### Cover the surface with a primer using a roller or a flat squeegee to reach covering rate.

### Pot life mixing is 20-25 minutes at 25°C (77°F).

### The primer must be completely dry before application of the waterproofing membrane (maximum recoat window 3 days).

## INSTALLATION OF THE WATERPROOFING MEMBRANE

### When the primer is set, the waterproofing membrane is applied with a 6 mm notched squeegee at the rate of 0.68 L/m2 (300 pi²/19 L) and must be levelled with a roller.  Membrane thickness shall have a wet film thickness of 700 micrometers (28 mils).

## INSTALLATION OF THE WEAR COAT (pedestrian and light duty vehicular traffic)

### When the waterproofing membrane is set, the wearing coat is applied with a 6 mm notched squeegee at the rate of 0.51 L/m2 (600 pi²/19 L) and the aggregates (silica sand) are spread onto the wear coat in order to obtain a non-slip finish and the wearing coat must be levelled with a roller, to well encapsulate the aggregates.  Wear coat shall have a wet film thickness of 330 micrometers (13 mils) before the application of aggregates.

### NOTE: Specify the following article for high-traffic areas such as ramps, turning radius, tollbooths, high traffic areas etc.

## INSTALLATION OF THE WEAR COAT (heavy duty vehicular traffic)

### When the waterproofing membrane is set, the first wearing coat is applied with a 6 mm notched squeegee or a with a roller at the rate of 0.51 L/m2 (600 pi²/19 L) and the aggregate (silica sand) is spread at refusal onto the first wear coat in order to obtain a non-slip finish.  Wear coat shall have a wet film thickness of 330 micrometers (13 mils) before the application of aggregates. Once the first coat is completely dry, remove all unadhered aggregates with a broom and a vacuum.

### Apply a second wear coat with a 6 mm notched squeegee at the rate of 0.51 L/m2 (600 pi²/19 L) and the aggregate (silica sand) is broadcast onto the second wear coat in order to obtain a non-slip finish and the wearing coat must be levelled with a roller, to well encapsulate the aggregates. Wear coat shall have a wet film thickness of 300 micrometers (13 mils) before the application of aggregates.]

## APPLICATION OF THE FINISH COAT (Heavy duty vehicular traffic)

### When the wear coat is set, the finish coat is applied with a roller at the rate of 0.18 L/m2 (750 pi²/19 L) in order to obtain a wet film thickness of 250 micrometers (10 mils).

### When dye is used, completely empty the ALSAN TRAFIK COLORANT pail in a 19L ALSAN TRAFIK HP 540 pail. Mix thoroughly for at least 1 minute with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a uniform color.

### It is necessary to wait 72 hours after the application of the finish coat before traffic can travel over the surface.  Provide and install temporary barriers to protect the membrane during the setting period.

Note:  SOPREMA INC. may modify the composition and/or utilisation of its products without prior notice.  Consequently, orders will be filled according to the latest specifications.

- END OF SECTION -