MODIFIED BITUMINOUS SHEET WATERPROOFING - FOUNDATIONS

COLPHENE TORCH’N STICK

FOR A COMPLETE DESCRIPTION OF PRODUCTS AND APPLICABLE STANDARDS, PLEASE REFER TO THE TECHNICAL DATA SHEETS (SOPREMA SPECIFICATIONS MANUAL OR WEB SITE WWW.SOPREMA.CA).

PLEASE CONTACT A SOPREMA REPRESENTATIVE TO ASSIST IN THE DESIGN OF SPECIFICATIONS FOR A PARTICULAR PROJECT.

THE ELECTRONIC VERSION OF SOPREMA’S SPECS IS AVAILABLE ON OUR WEB SITE: WWW.SOPREMA.CA.

# GENERAL

## DESCRIPTION

### This section specifies the requirements for the supply and installation of the elements required for waterproofing below grade structures.

### Waterproofing system:  Thermofusible SBS modified bitumen membrane.

## RELATED WORK

### Division  [02 40 00] [Demolition and Structure Moving]

### Division [03 00 00] [Concrete]

### Division [04 00 00] [Masonry]

### Division [07 10 00] [Dampproofing and Waterproofing]

### Division [07 21 00] [Thermal Insulation]

### Others: [              ] [              ]

## COMPLEMENTARY WORK TO BE EXECUTED BY THE SUB-CONTRACTOR

## TECHNICAL DOCUMENTS

### Submit two (2) copies of the most current technical data sheets. These documents must describe the physical properties of the material, [and explanations about product installation, including installation techniques, restrictions, limitations and other manufacturer recommendations.]

## CONTRACTOR QUALIFICATIONS

### Waterproofing work shall be performed only by skilled applicators, employed by an installation contractor operating all adequate and necessary equipment to execute such work in accordance with the manufacturer’s recommendations and recognized standards.

## MANUFACTURER'S REPRESENTATIVE

### The waterproofing materials manufacturer may delegate a representative to visit the work site at commencement of work.

### At all times, the contractor shall permit and facilitate access to the site by the manufacturer's representative cited above.

## MATERIALS STORAGE

### Rolls of materials should be handled with care and proper equipment.

### Rolls of materials shall be carefully stored and adequately protected in accordance with the manufacturer’s recommendations.

## QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

### The manufacturer of elastomeric bitumen products will provide proof of ISO 9001 and ISO 14001 certifications.

## WARRANTIES

Note:	If used in combination with SOPREMA’s SOPRADRAIN 10G Drainage Board = 10 years warranty

### The product manufacturer shall issue a written and signed document in the name of the owner, certifying the product will meet all the physical characteristic published by the manufacturer, for a period of 5 years, starting from the date of completion of installation of membranes. No letter amending the manufacturer’s standard warranty will be accepted and the warranty certificate must reflect these requirements.

# PRODUCTS

## WATERPROOFING MEMBRANE

### Description: Membranes composed of a non-woven polyester reinforcement and SBS modified bitumen.  Both faces are covered with a thermofusible plastic film.

### Components:

#### Reinforcement:	Non-woven polyester.

#### Elastomeric bitumen:	Mix of selected bitumen and SBS polymer.

### Properties:

#### Thickness:	2.7 mm

#### Breaking strength (MD/XD):	25 / 16 kN/m

#### Ultimate elongation (MD/XD):	60 / 65 %

#### Cold bending:	-30 °C

#### Softening point:	( 110 °C

#### Static puncture resistance:	( 470 N

#### Tear resistance:	80 N

#### Resistance to hydrostatic pressure:

### Specified products: COLPHENE TORCH’N STICK by SOPREMA:

## PRIMER FOR HEAT WELDED MEMBRANES

### Description: A blend of elastomeric bitumen, volatile solvents and adhesive enhancing additives used to prime concrete or metal substrates to enhance the adhesion of torch-applied waterproofing membranes.

### Specified product: ELASTOCOL 500 by SOPREMA.

## ACCESSORIES

Note: Specify below when asphaltic panels are specified.

### WATERPROOFING MASTIC

#### Description:  A black, solvent-based mastic containing SBS modified bitumen, fibres and mineral fillers.

#### Specified product:  SOPRAMASTIC by SOPREMA.

### PROTECTION BOARD

#### Description: A semi-rigid protection board composed of a mineral fortified asphaltic core formed between two saturated fibreglass felts.

#### Characteristics:

##### Thickness:	3 mm

##### Board size:	Width: 1.22 m Length: 1.52 m

#### Specified product: SOPRABOARD by SOPREMA.

### INSULATION BOARD

#### Description: A rigid thermal insulation boards made of extruded polystyrene with shiplap or squared edges on its four sides. It is composed of closed cell foam.

#### Characteristics:

##### Thickness:	38 mm, 51 mm or 76 mm

##### Board size:	  2.44m x 0.61 m

##### Thermal resistance: RSI – 0.88 (R – 5.0)

#### Specified product: SOPRA-XPS 30 by SOPREMA.

[OR]

#### Characteristics:

##### Thickness: 51 mm or 76 mm

##### Board size: 2.44 m x 0.61 m

##### Thermal resistance: RSI – 0.88 (R – 5.0)

#### Specified product: SOPRA-XPS 40 by SOPREMA.

[OR]

#### Characteristics:

##### Thickness: 51 mm or 76 mm

##### Board size: 2.44 m x 0.61 m

##### Thermal resistance: RSI – 0.88 (R – 5.0)

#### Specified product: SOPRA-XPS 60 by SOPREMA.

[OR]

### DRAINAGE BOARD

#### Description: High-density polypropylene core drainage panel.

#### Characteristics:

##### Compressive Strength (kPa) :	550 (11 000 psf)

##### Roll dimensions:	Width: 1.83 m - Length: 15.25 m

#### Specified product: SOPRADRAIN 10G by SOPREMA.

### TERMINATION BAR

#### Specified product: [             ]

# EXECUTION

## EXAMINATION AND PREPARATION OF SURFACES

### Surface examination and preparation must be completed in conformance with recommendations in the SOPREMA Specifications Manual.

### Before waterproofing work begins, the owner's representative and the membrane contractor’s foreman will inspect and approve substrate condition and ensure that related work has been properly executed. If necessary, a non-conformity notice will be issued to the contractor so that required corrections can be made. The start of the membrane application will mean that substrate conditions are acceptable for work completion.

### Before commencing work, all surfaces must be smooth, dry, clean and free of ice and debris as per manufacturer’s recommendations.

### No materials will be installed during rain or snowfall.

### Concrete must be cured a minimum of fourteen (14) days and an adhesion test is recommended before membrane application.

### Verify the compatibility of all membrane components with curing compounds, coatings or other materials which are already installed on the surfaces to be treated.

### Any cracks over 3 mm wide should be reported to the design professional. After approval from the qualified authority, the crack should be filled in with waterproofing mastic. A 150 mm (6 inches) wide strip of membrane should be installed, centered over the crack.

## METHOD OF EXECUTION

### Work shall be performed on a continuous basis as surface and weather conditions allow.

### Adjoining surfaces shall be protected against any damage that could result from the waterproofing installation.

## EQUIPMENT

### Maintain all equipment and tools in good working order.

## PRIMER APPLICATION

### Surface where heat-welded membrane is applied shall receive an asphalt primer coating at the rate of 0.15 to 0.20 l/m2.  Application rate may vary depending on surface condition.

## WATERPROOFING MEMBRANE INSTALLATION

### To begin application, align the first roll of membrane to a previously drawn chalk line.

### All inside and outside corners must be pre-stripped with a 300 mm (12 in.) wide strip of membrane centered over the corner. This membrane must be installed in direct contact with the substrate not leaving any voids under the membrane strip.  Outside corners should be double lapped.

### Weld the membrane using a propane gas torch.

### Subsequent rolls must be installed in the same manner and should be aligned with the preceding roll with a side lap of at least 75 mm.  End laps must be overlapped at least 100 mm.

### Holes and tears in the membrane must be repaired with the appropriate membrane material.  The repair must exceed the affected surface area by at least 100 mm.

### Prior to backfilling, it is recommended to protect waterproofing system with protection boards.  Backfilling should commence immediately after installation of protection boards.

### The uppermost edge of the membrane is to be mechanically fastened to the concrete substrate using termination bars.  The termination bar should surpass the top edge of the membrane.

### Apply mastic on the top edge of termination bar to prevent water accumulation and infiltration.

### Any waterproofing membrane left exposed after backfilling shall be protected from ultra violet and mechanical damages.

Note: Prior to backfilling, it is recommended to protect the waterproofing system with protection boards adhered to membrane’s surface.  Backfilling should commence immediately after installation of protection boards.

## [PROTECTION][INSULATION][DRAINAGE][BOARD INSTALLATION]

### Using a torch, melt the plastic film on the surface to cover.

### Adhere the [protection] [drainage] [insulation] panels directly on the exposed bituminous sticky surface by applying a uniform pressure on the entire surface.

### Backfill as soon as possible after protection board installation within 72 hours maximum.

Note: 	SOPREMA INC. may modify the composition and/or utilisation of its products without prior notice.  Consequently, orders will be filled according to the latest specifications.

-END OF SECTION-