PARKING DECKS

MODIFIED BITUMINOUS SHEET WATERPROOFING

TRAFIKROCK

FOR A COMPLETE DESCRIPTION OF PRODUCTS AND APPLICABLE STANDARDS, PLEASE REFER TO THE TECHNICAL DATA SHEETS (SOPREMA SPECIFICATIONS MANUAL OR WEB SITE WWW.SOPREMA.CA).

PLEASE CONTACT A SOPREMA REPRESENTATIVE TO ASSIST IN THE DESIGN OF SPECIFICATIONS FOR A PARTICULAR PROJECT.

THE ELECTRONIC VERSION OF SOPREMA SPECS IS AVAILABLE ON OUR WEB SITE : WWW.SOPREMA.CA.

# GENERAL

## DESCRIPTION

### This section specifies the requirements for the supply and installation of the elements required for waterproofing parking decks.

### Waterproofing system:	Modified bituminous sheet waterproofing membrane.

## [RELATED WORK]

### Division [              ] [              ]

## [COMPLEMENTARY WORK TO BE EXECUTED BY THE SUB-CONTRACTOR]

## TECHNICAL DOCUMENTS

### Submit two (2) copies of the most current technical data sheets. These documents must describe the physical properties of the material, [and explanations about product installation, including installation techniques, restrictions, limitations and other manufacturer recommendations.]

## CONTRACTOR QUALIFICATIONS

### Waterproofing work shall be performed only by skilled applicators, employed by an installation contractor operating all adequate and necessary equipment to execute such work in accordance with the manufacturer’s recommendations and recognized standards.

## MANUFACTURER'S REPRESENTATIVE

### At all times, the contractor shall permit and facilitate access to the site by the manufacturer's representative cited above.

## MATERIALS STORAGE

### Materials should be handled with care and proper equipment.

### Materials shall be carefully stored and adequately protected in accordance with the manufacturer’s recommendations.

## QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

### The manufacturer of elastomeric bitumen products will provide proof of ISO 9001 and ISO 14001 Certifications.

## WARRANTIES

### The product manufacturer shall issue a written and signed document in the name of the owner, certifying the products will meet all the physical characteristics published by the manufacturer, for a period of 5 years, starting from the date of completion of installation of membranes. No letter amending the manufacturer’s standard warranty will be accepted and the warranty certificate must reflect these requirements.

# PRODUCTS

## WATERPROOFING MEMBRANES

### Top layer

#### Description:  A waterproofing membrane composed of non-woven polyester reinforcement and SBS modified bitumen. The top face is protected by coloured granules, the under face is covered with a thermofusible plastic film.

#### Characteristics:

#### Note: Choose roll size of 1 m x 200 m when specifying installation with the large automated installation equipment and 1 m x 8 m for the small automated equipment.

##### Thickness:	4.5 mm

##### Roll size: 	1 m x [200 m] [and 1m x 8m]

##### Tensile strength (kN/m): longitude. (MD) = 17.0 – transv. (XD) = 11.5

##### Elongation maximum laod (%): longitud. (MD) = 50.0 – transv. (XD) = 65.0

##### Low temperature flexibility:	- 20 °C

##### Static puncture resistance (N):  215

#### Specified product: TRAFIKROCK by SOPREMA.

#### [OR]

#### Description:  A waterproofing membrane composed of non-woven polyester reinforcement and SBS modified bitumen. The top face is protected by coloured granules, the under face is covered with a thermofusible plastic film.

#### Characteristics:

##### Thickness:	4.5 mm

##### Roll size: 	1m x 8m

##### Tensile strength (kN/m): longitude. (MD) = 17.0 – transv. (XD) = 11.5

##### Elongation maximum laod (%): longitud. (MD) = 50.0 – transv. (XD) = 65.0

##### Low temperature flexibility:	- 20 °C

##### Static puncture resistance (N):  215

#### Specified product: TRAFIKROCK STARTER by SOPREMA.

### Base layer

#### Description:  A waterproofing membrane composed of non-woven polyester reinforcement and SBS modified bitumen. Both top face and underface ares covered with a thermofusible plastic film.

#### Characteristics:

### Note: Choose roll size of 1 m x 250 m when specifying installation with the large automated installation equipment and 1 m x 10 m for the small automated equipment.

### Note: Use the following paragraph when the parking deck is over a living space.

##### Thickness:	3.5 mm

##### Roll size: 	1 m x [250 m] [and 1m x 10m]

##### Tensile strength (kN/m): longitude. (MD) = 17.0 – transv. (XD) = 11.5

##### Elongation maximum laod (%): longitud. (MD) = 50.0 – transv. (XD) = 65.0

##### Low temperature flexibility:	- 20 °C

##### Static puncture resistance (N):  215

#### Specified product: TRAFIKROCK BASE by SOPREMA.

## ACCESSORIES

### Note: Choose article 2.2.1 for a solvent based primer and article 2.2.2 for bitumen based emulsion primer.

### Primer (solvent base)

#### Description: A blend of SBS modified bitumen, fast-evaporating solvents and adhesive enhancing additives. It is required to prime concrete and metal surfaces in order to improve the adhesion of torch-applied waterproofing membranes.

#### Characteristics:

##### Specific gravity at 20 °C (kg/l):	0.91

##### Colour:				Black

##### Solids by weight (%):			35

##### Viscosity, Brookfield (cps, 25 ºC):	50

##### Flash point, ASTM D-93 (°C):		-3 (26 °F)

##### Drying time on smooth surfaces:	1 to 12 hours depending on

##### temperature and quantity applied

#### Specified product: ANTIROCK PRIMER by SOPREMA.

[OR]

### Primer (bituminous emulsion)

#### Description:  A bituminous emulsion (stabilized blend of bitumen and water without solvent). It is required to prime concrete and metal surfaces in order to improve the adhesion of thermofusible waterproofing membranes.

#### Characteristics:

##### Specific gravity at 20 °C (kg/l):	1.00

##### Colour:				Dark brown

##### Solids by weight (%):			44

##### Viscosity, Brookfield (cps, 25 ºC):	675

##### Flash point (ASTM D-93):		n/a – non-flammable

#### Specified product: ANTIROCK EMULSION PRIMER by SOPREMA.

#### [OR]

## MEMBRANE FOR UPSTANDS AND DETAILS

### LIQUID MEMBRANE FOR UPSTANDS AND DETAILS

#### Description: A ready to use one-component polyurethane and bitumen waterproofing resin which can be applied directly on substrate without primer.

#### Characteristics:

##### Physical state: 				Brown viscous liquid

##### Density at 25 ºC (g/l):				1070

##### Solids content (%):				80

##### Minimum application temperature (ºC): 	5 (41 ºF)

##### Drying time ready to recoat after:		2 hours

##### Dry:						12 hours

##### (remains tacky to touch)

#### Specified product: ALSAN FLASHING by SOPREMA.

### LIQUID MEMBRANE REINFORCEMENT

#### Description: A flexible reinforcement made of 100 g/m² woven polyester used for angle change at upstands, support junctions and joints.

#### Format: 0.15 m (6 in) wide x 30.5 m (100 ft) long strip.

#### Specified product: FLASHING REINFORCEMENT by SOPREMA.

# EXECUTION

## EXAMINATION AND PREPARATION OF SURFACES

### [Prior to commencement of work, the waterproofing contractor must receive a written order to proceed from the owner’s representative accepting deck conditions.] Commencement of work shall be considered as acceptance of the installation conditions.

### Concrete must be cured following local requirements.

### Concrete substrate should have a maximum moisture content of 1,5 kg/100m²/24h (ASTM F1869) or 6% (ASTM F2659).

### Concrete must respect CSP 3 to CSP 6 from International Concrete Repair Institute (ICRI).

### The substrates must be free from grooves, cavities and incisive objects.

### Concrete substrate must be prepared by shot blasting with steel balls. Surface must be clean, dry, free of laitance and/or contamination by concrete treatment products, oils, diesel oil, or grease etc. These products could affect the adhesion or the physical integrity of the membrane.

### In case contamination after shot blasting, surface must be abrade to remove contaminants. It is not recommended to use liquid products to remove contaminants.

### Do not install materials in conditions of snow or rain. Use of salt or calcium is forbidden to remove ice or snow.

### An adhesion test is recommended before membrane application

### The decision to begin application of materials constitutes an implicit acceptance of the surface conditions.

## METHOD OF EXECUTION

### Install waterproofing products on properly prepared surfaces.

### Waterproofing work shall be performed on a continuous basis as surface and weather conditions allow.

### Adjoining surfaces shall be protected against any damage that could result from the waterproofing installation.

### Make sure to remove adhesive identification tapes on rolls of membranes.

## EQUIPMENT

### Maintain all equipment and tools in good working order.

### Note: Use the following paragraph to specify the installation of the waterproofing membrane with automated equipment for large (200 m) rolls.

### Use automated membrane installation machine, [Macaden type], that meets the following requirements:

#### Installs 1 m x 200 m rolls.

#### Self-guidance system.

#### Hot air blowers conditioning the deck surface and heat-welding the membrane.

#### Pressure rollers optimising adherence.

#### Certified safety equipment.

### Note: Use the following paragraph to specify the installation of the waterproofing membrane with automated equipment for standard rolls.

### Use automated membrane installation machine, [Mini-Macaden type], that meets the following requirements:

#### Installs 1 m x 8 m rolls.

#### Self-guidance system.

#### Hot air blowers heat-welding the membrane.

#### Pressure roller optimising adherence.

#### Certified safety equipment.

## DECK PREPARATION

### Prepare the surfaces according to [manufacturers recommendations] [and/or] [local requirements].

## PRIMER APPLICATION

### Surfaces where heat-welded membranes will be applied must receive a primer coating at the rate of 0.15 to 0.20 l/m2.  Primer must be dry before application of the membrane.

## WATERPROOFING MEMBRANE INSTALLATION

### The membrane shall be installed parallel to the longitudinal axis of the structure. The strips should preferably be unrolled in the direction of circulation. On curved surfaces of the structure, the strips should be laid out so that the angle with the axis of circulation does not exceed 60 º. The Macaden equipment allows membranes to be installed to follow curves to a maximum radius of 130 meters.

### This membrane will be welded onto the concrete support, which will have received a primer as a preliminary.

### Waterproofing membrane shall have side laps of 75 mm (3 in) and end laps of 150 mm (6 in). Prepare end laps by embedding granule on the 150 mm (6 in) strip of membrane to be overlapped.

### Make sure the membrane is properly welded providing a smooth application free of air pockets, fishmouths or tears.

### After installation of the membrane, check all lap seams.

### Wrinkler repair: Degranulate the membrane around the wrinkle in all directions within a 150 mm (6 po) radius. Cut and remove the wrinkled area of the membrane. Install a membrane patch extending minimum 150 mm (6 in) beyond limits of repair area. Use trowel to treat terminations membrane.

## INSTALLATION OF LIQUID MEMBRANE FOR UPSTANDS AND DETAILS

### Using a paint brush, roller or trowel, coat the transition at the bottom of the upstand with a layer of membrane flashing 100 mm (4 in) horizontally and minimum 100 mm (4 in) vertically above the top of the wearing surface. Do not install more that 3 m (10 ft) of resin prior to the installation of the reinforcement.

### Follow immediately with reinforcement, which is installed on the wet membrane flashing, using a trowel or paintbrush. Repeat this step so as to cover the entire surface to be waterproofed.  The membrane flashing reinforcement strips must overlap each other by a minimum of 50 mm (2 in).

### Immediately coat the top of the reinforcement and the overall upstand or detail with liquid membrane flashing.

### When the first coat has dried (for 2 to 3 hours at an ambient temperature of 20 ºC), cover with a finish coat along the entire detail surface.

## WATERPROOFING FOR VARIOUS DETAILS

### Install waterproofing membranes in conformance with various details [as indicated on the constructions plans] [and] [as illustrated in the membrane manufacturer’s specifications and installation manual].

## BASE AND/OR WEARING COURSE

### Asphalt paving is to be applied maximum 72 hours after the installation of the waterproofing membrane.

### Modified bitumen membranes can withstand temporary traffic, at slow speed, of site vehicles equipped with rubber tires and the caterpillar tracks of the road-surfacing machine.  Protection must be provided in areas where tracked vehicles are manoeuvring.  Any other traffic requires the project manager's approval.

### The use of tack coat is not required on the membrane before installation of paving asphalt.

### Install paving asphalt at the minimum temperature of 140 oC at the point of contact with the membrane.

### Any cracks in the pavement during its installation are indicative of a blister forming between the substrate and the membrane. Immediately lance at a 45° angle using a pointed tool so that when the roller makes the next pass it will force the air trapped in the blister out and the heat from the pavement will contribute to re-adhere the membrane to the substrate.

##### Note: The thickness of the asphalt paving wearing coarse will depend upon the weight and traffic load that the bituminous concrete will be required to support.  The minimum thickness shall be: 40 mm after compaction for light vehicle loading (including areas occasionally used by fire trucks and moving vans) or 60 mm after compaction for heavy vehicle loading.  Determined on a case-by-case basis when the traffic load includes special vehicles (fork-lift trucks).  A different thickness may be considered when high performance bitumen is used; however a minimum thickness of 40 mm after compaction must be maintained.

### Minimum thickness of paving asphalt after compaction: 40 mm.

Note:  SOPREMA INC. may modify the composition and/or utilisation of its products without prior notice.  Consequently, orders will be filled according to the latest specifications.

--END OF SECTION--