SOPRANATURE 
EXTENSIVE GREEN ROOF                    HOT RUBBERIZED ASPHALT SPECIFICATION

THESE SPECIFICATIONS CONTAIN ALL SPECIFICATIONS FOR SOPREMA HOT RUBBERIZED ASPHALT ROOFING MEMBRANE SYSTEM.

THE EDITOR SHOULD CONTACT A SOPREMA REPRESENTATIVE TO GET ASSISTANCE FOR THE ADAPTATION OR COMPLETION OF SPECIFICATIONS ACCORDING TO THE PARTICULAR CONDITIONS RELATED TO EACH PROJECT.

IMPORTANT: PLEASE BE SURE TO READ THE POLICY STATEMENT IN THE IMPORTANT NOTICES SECTION IN THE FIRST PAGES OF THE SOPREMA RING BINDER.

FOR A COMPLETE DESCRIPTION OF PRODUCTS AND APPLICABLE STANDARDS, PLEASE REFER TO THE TECHNICAL DATA SHEETS ON OUR WEBSITE AT WWW.SOPREMA.CA.

THE ELECTRONIC VERSION OF OUR SPECIFICATIONS IS ALSO AVAILABLE ON SOPREMA’S WEBSITE.

# General

## REFERENCE STANDARD[S]

NOTE TO THE SPECIFIER: The designer of the waterproofing system should investigate with the client which requirements apply to a particular project. Applicable building regulations must be followed. Consult provincial roofing associations, since they could have special requirements, particularly if they offer warranties.

NOTE TO THE SPECIFIER: The National Building Code requires that all roofs, except when permitted (tents, inflatable structures, certain small “assembly occupancy” buildings), must be Class A, B, or C, as determined in accordance with CAN/ULC-S107-10 “Standard Methods of Fire Tests of Roof Coverings.”

#### [Membranes must meet or exceed requirements of CAN/CGSB 37.50–M89, Hot-Applied, Rubberized Asphalt for Roofing and Waterproofing.]

#### [Roofing system must meet or exceed requirements of CAN/ULC-S107-10, Methods of Fire Tests of Roof Coverings, Class [A] [B] [C].]

#### [Submit a report, issued by a certified materials testing laboratory, attesting that the specified modular system was tested in accordance with CSA A123.24-15, Standard test method for wind resistance of modular vegetated roof assembly.]

#### [Extruded polystyrene insulation boards must meet or exceed requirements of CAN/ULC-S701-11, Expanded Polystyrene Insulation Board and Pipe Covering.]

#### [Ballast must meet the requirements of ASTM D 1863-05, Standard Specification for Mineral Aggregate Used on Built-Ups Roofs.]

#### Root barrier must meet the requirements of ANSI/GRHC/SPRI VR-1 2011, Procedure for Investigating Resistance to Root Penetration on Vegetative Roofs.

## COMPATIBILITY

#### With the exception of vegetation, all the materials specified in this document must be provided by the same manufacturer.

## TECHNICAL DOCUMENTS

#### Submit two (2) copies of the most current technical data sheets. These documents must describe the physical properties of materials [and explanations about product installation, including restrictions, limitations and other manufacturer recommendations].

## QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

NOTE TO THE SPECIFIER: Certificates of qualification may be part of the documents required for submission. Where applicable, these requirements shall be part of the call for tender(s).

#### The manufacturer of elastomeric bitumen products will provide proof of ISO 9001 and ISO 14001 Certifications.

## CONTRACTOR QUALIFICATIONS

#### Roofing contractors and sub-contractors must, when tendering and during works, possess a roofing contractor operating license.

#### [Roofing contractors and sub-contractors must also be [registered with SOPREMA’s PAQ + S program] [recognized installers], and provide the architect with a written certificate issued by SOPREMA to this effect before beginning any roofing work.]

#### Required work may be carried out only by applicators who have been trained in the application of the green roofing systems and who are employed by an enterprise which has the adequate and necessary equipment.

## MANUFACTURER’S REPRESENTATIVE

#### A representative of the waterproofing materials manufacturer can be present on the worksite at commencement of work or at any other time during the work, as required.

#### The contractor must at all times enable and facilitate access to the worksite and the roofs for the said manufacturer’s representative.

## MATERIALS STORAGE AND DELIVERY

#### All materials will be delivered and stored in their original packaging, in conformance with the requirements described in the manufacturer’s technical documentation.

#### At all times, materials will be adequately protected and stored in a dry and properly ventilated area, away from any welding flame or spark, and sheltered from the elements and any harmful substances.

#### Store the adhesives and solvent-based mastics at a minimum of 5 °C (41 °F).

#### Materials delivered in rolls will be carefully stored upright; flashings will be stored to avoid wrinkling, buckling, scratches or any other possible damage.

#### Avoid gathering construction materials on the roof, which may affect the structural integrity by imposing loads exceeding what is admissible.

## FIRE PROTECTION

#### Prior to the start of work, conduct a site inspection to ensure its safety in order to minimize fire risks and hazards.

#### Respect safety measures recommended by the related local authorities.

#### At the end of each workday, use a heat detector gun to spot any smouldering or concealed fire. Job planning must be organized to ensure workers are still on location at least […] hour[s] after welding works. An inspection must be performed by an employee of the roofing contractor who specializes in this kind of job at the end of works and, if necessary, with the help of a member of the fire protection service of the city.

#### Never apply the torch directly to flammable materials.

#### Throughout roofing installation, maintain a clean site and have a fire hose (when possible) and at least one ULC-approved Class A, B or C fire extinguisher, charged and in perfect operating condition, within 6 m (20 ft) of each torch. Respect all safety measures described in technical data sheets of sealants. Welding torches must never be placed near combustible or flammable products, nor be used where the flame is not visible or cannot be easily controlled.

## WARRANTIES

#### NOTE TO THE SPECIFIER: Please refer to the national master specifications (nms) for federal government contracts. For other works, please refer to the following term(s). For more information on roofing membrane warranty, please consult SOPREMA's warranties (of which terms must in no way be modified).

#### NOTE TO THE SPECIFIER: Retain the following article when a material and workmanship warranty (SOPREMA MAMMOUTH PLATINUM HOT RUBBER warranty) is requested (warranty of the membrane manufacturer).

#### The membrane manufacturer will issue a written document in the owner’s name, valid for a [   ]-year period, stating that it will repair any leaks in the roofing membrane to restore the roofing system to a dry and watertight condition, to the extent that manufacturing or installation defects of one or several components caused such water infiltration. The warranty must cover the total cost of repair(s) during the entire warranty period. The warranty must be transferable, at no extra cost, to subsequent building owners. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when a material and workmanship warranty (SOPREMA MAMMOUTH PLUS HOT RUBBER warranty) is requested (warranty of the membrane manufacturer).

#### The membrane manufacturer will issue a written document in the owner’s name, valid for a [   ]-year period, stating that it will repair any leaks in the roofing membrane to restore the roofing system to a dry and watertight condition, to the extent that manufacturing defects of one or several components caused such water infiltration. The warranty must cover the total cost of repair(s) during the entire warranty period. The warranty must be transferable, at no extra cost, to subsequent building owners. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when a green roofing material warranty (SOPRANATURE) is requested in addition to a SOPREMA MAMMOUTH HOT RUBBER system warranty (warranty of the membrane manufacturer).

#### The membrane manufacturer will issue a written document in the owner’s name, valid for a [   ]-year period, stating that it will remove and reinstall the SOPRANATURE components to repair any leaks in the roofing membrane to restore the roofing system to a dry and watertight condition, to the extent that manufacturing or installation defects of one or several components caused such water infiltration. The warranty must cover the total cost of repair(s) during the entire warranty period. The warranty must be transferable, at no extra cost, to subsequent building owners. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when requesting a materials warranty (warranty from the membrane manufacturer).

#### The membrane manufacturer will issue a written and signed document in the owner's name, certifying that the roofing membranes are free of manufacturing defects for a period of ten (10) years, starting from the date of completion of membrane installation. This warranty will cover the removal and replacement of defective roof membrane products, including workmanship. The warranty must remain full and complete for the duration of the period specified. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when requesting a workmanship warranty (warranty from the roofing contractor).

#### The contractor will provide a written and signed document to the owner’s name certifying that the work executed will remain in place and free of waterproofing defect for a [   ]-year period from the date of acceptance.

#### NOTE TO THE SPECIFIER: Some local roofing associations issue waterproofing warranties complementary to those previously mentioned. Please consult these local associations for the terms and conditions of these warranties.

#### [The contractor will provide [local association] a certificate of warranty for this project, valid for a [   ]-year period.]

# Products

## SUPPORT PANEL

#### NOTE TO THE SPECIFIER: Hot rubber cannot be installed directly on to steel deck. a rigid support panel is required to provide a suitable substrate. Support panels may also be used on wood or concrete decks where the roughness of the substrate may result in damage to the membrane or inadequate adhesion. Choose the support panel best suited to roof substrate. Take into consideration humidity conditions of adjacent premises as well as general installation conditions.

### Gypsum-Fibre Roof Board

#### Description: glass fibre-covered roof board [ [ ]-mm-thick].

#### In conformance with: ASTM E84 and ASTM C1177

#### Specified product: [   ]

### Gypsum-Fibre Board

#### Description: Fibre reinforced gypsum board [ [ ]-mm-thick].

#### In conformance with: ASTM C 1278

#### Specified product: [   ]

### Plywood

#### Description: prefabricated panel consisting of sheets of veneer glued together [ [ ]-mm-thick].

#### In conformance with: CSA O121, CSA 0151 or CSA 0153

#### Specified product: [   ]

## WATERPROOFING MEMBRANE

### Hot rubber

#### Description: Hot applied waterproofing membrane composed of elastomeric polymers, asphalt and mineral fillers.

#### In conformance with: CAN/CGSB-37.50-M89

#### Specified product: COLPHENE H by SOPREMA

### Reinforcement fabric

#### Description: Spun bonded polyester-nylon fabric reinforcing sheet.

#### Specified product: SOPRAFLASH R by SOPREMA

### Reinforcement membrane

#### Description: Uncured chloroprene rubber (neoprene) 1.5 mm (60 mils) reinforcing membrane.

#### Specified product: SOPRAFLASH UN by SOPREMA

### Separation sheet

#### Description: 0.15 mm (6 mils), high density polyethylene sheet.

#### Specified product: SOPRAFLASH UN by SOPREMA

## PRIMER

### Primer for hot rubber waterproofing membrane

#### Description: Primer made of bitumen, volatile solvents and adhesive resins. Used as primer to improve the adhesion of waterproofing membranes.

#### Specified product: ELASTOCOL 500 by SOPREMA.

## ACCESSORY MEMBRANES

### Modified bitumen expansion joint

#### Description: Waterproofing membrane manufactured by combining a polyester fabric with modified thermoplastic polymer bitumen. The underface is covered with a thermofusible plastic film. The surface has aluminum foil adhered to the centre of the membrane and covered by a release kraft paper. Nominal thickness is 4.0 mm (0.15 in) and width is 450 mm (18 in).

#### Specified product: SOPRAJOINT membrane by SOPREMA

### Synthetic rubber expansion joint

#### Description: Monolithic expansion joint comprised of two flanges coated on the surface and underface with a woven oxidized and stabilized polyacrylonitrile, with an expandable core made of EPDM-based synthetic rubber (Ethylene-Propylene-Diene-Monomer).

#### Specified product: SOPRAJOINT PLUS [20] [40] [75] [125] membrane by SOPREMA.

## ROOF DRAIN

### Drain

#### Description: Roof drain designed to collect rainwater on roofs.

#### Specified products: [   ]

### Roof vent

#### Description: Roof vent designed to ensure watertightness around the main plumbing vent system on roofs.

#### Specified products: [   ]

## ADHESIVES

### Support panel adhesive

#### Description: Two-component, quick-setting, low-expansion foam urethane adhesive that can be applied at any temperature.

#### Specified product: DUOTACK [365] by SOPREMA

## FASTENERS

### Support panel fasteners

#### Description: [pre-assembled] fasteners with #[   ] self-tapping screws, with washer of [   ] mm in diameter.

#### Specified products: [   ]

## PROTECTION BOARD

### Bituminous Board

#### Description: Semi-rigid roofing support panel composed of a mineral-reinforced asphaltic core between two asphalt-saturated fibreglass liners. Length of 1.2 m (3.93 ft), width of [1.5 m (4.92 ft)] [2.43 m (7.97 ft)] and thickness of [3.2 mm (0.12 in)] [4.8 mm (0.18 in)] [6.4 (0.25 in)].

#### Specified product: SOPRABOARD by SOPREMA.

## COMPLEMENTARY WATERPROOFING PRODUCTS

#### NOTE TO THE SPECIFIER: Use the products described below for all sealing products in contact with the waterproofing membrane. It is recommended to use SOPRAMASTIC ALU when the mastic is left exposed because the aluminum pigments provide a greater resistance to elements.

### Waterproofing Mastic

#### Description: Multi-purpose mastic composed of SBS modified bitumen, fibres, [aluminum pigments,] mineral fillers and solvents.

#### Specified product: SOPRAMASTIC [ALU] by SOPREMA

### Pitch Pocket Filler

#### Description: Polyester-made precast blocks of various sizes a single-component, polyether-based mastic and a single-component, polyether based sealant and adhesive.

#### Specified product: SOPRAMASTIC BLOCK SYSTEM by SOPREMA

### Sealing Product

#### Description: Bitumen/polyurethane waterproofing mono-component resin and polyester reinforcement.

#### Specified products: ALSAN FLASHING and ALSAN REINFORCEMENT by SOPREMA

## ROOT BARRIER

#### Description: Woven high density polyethylene scrim of [0.5 mm (20 mil)] [0.76 mm (30 mil)] thick that offers protection against migration of roots.

#### In conformance with: ANSI/GRHC/SPRI VR-1 2011.

#### Specified product: SOPRABARRIER [20 mil] [30 mil] by SOPREMA

## ROOT BARRIER SEALING TAPE

#### Description: Polyethylene film, single coated with a rubber pressure sensitive adhesive designed for sealing root barrier longitudinal and transversal laps.

#### Specified product: [SOPREMA APPROVED TAPE] [   ]

## INSULATION

### Extruded Polystyrene Insulation

#### Description: Rigid thermal insulation board made of rigid extruded polystyrene with shiplap edges on all four sides. It is composed of closed cell foam.

#### In conformance with: CAN/ULC-S701-11, Type 4.

#### Specified product: SOPRA-XPS 35 by SOPREMA

## DRAINAGE BOARD

#### Description: Drainage board composed of a 40% post-industrial recycled extruded polypropylene matrix of tangled waffle filaments onto which a polypropylene geotextile is thermally bonded.

#### Specified product: SOPRADRAIN ECO-VENT by SOPREMA

## SEPARATION FABRIC

#### Description: Non-woven needle-punched polypropylene and polyester geotextile fabric.

#### Thickness: 1 mm (40 mil)

#### Specified product: SOPRAFILTRE by SOPREMA

## CAPILLARY MAT

NOTE TO THE SPECIFIER: Since the water needs are different from plants to plants and water flows from rain falls differ from geographical areas select the appropriate product described below according to their water holding capacity. For additional water storage, combination of multiple products can be done.

#### Description: Non-woven needle-punched polyester capillary mat used to retain and distribute water to growing medium.

#### Water retention capacity: [5 L/m² (0.12 US Gal /ft²)] [8 L/m² (0.19 US Gal /ft²)].

#### Specified product: SOPRARETENTIO MAT [5] [8] by SOPREMA

## GROWING MEDIUM

NOTE TO THE SPECIFIER: Contact a SOPRANATURE representative to help determine the optimal thickness of growing medium required for the green roof vegetation. SOPREMA recommends that an irrigation system be installed and maintained in good condition to sustain water needs throughout wet and dry seasons.

### Non-Irrigated Extensive and Semi-Intensive Systems

#### Description: Growing medium consisting of an unconsolidated mixture of organic matter and mineral aggregates complying with the German FLL guidelines. The composition is specially formulated by the vegetated roofing system manufacturer for extensive or semi-intensive systems, to provide optimal water retention, permeability, structural stability and density for plants with low water needs.

#### Specified Product: SOPRAFLOR X by SOPREMA

## ACCESSORIES

### Protective borders

NOTE TO THE SPECIFIER: Gravel or paver protection must be laid over the area within 300 mm of the edge. This area must be isolated from the SOPRANATURE system by curbs made of L shaped aluminum, zinc or galvanized steel, or with a concrete, interlocking paving stone or treated wood-rafter border.  These curbs will be installed on the drainage panels. Contact a SOPRANATURE representative to propose a layout plan using these elements.

#### Description: [Slotted] L-shaped 16 ga (0.051”) aluminum angle designed to retain the components of the vegetated roof systems and delimit vegetation-free borders.

#### Specified Product: SOPRANATURE METAL EDGING

### Paver pedestals

#### Description: Polypropylene support for pavers used for pedestrian traffic terraces. The pedestals consist of an adjustable screw nut head assembly and a base. [The slope corrector may be installed at the base to level slopes of 0 to 5%.] [The 2 mm (80 mil) foam cushion is used to absorb shocks and to prevent pavers from moving.]

#### Properties:

##### Ultimate strength: (1 ton loaded on whole surface > 500 kg (1,102 lb) loaded on one fourth of the surface.

##### Height: [35 mm (1.37 in)] [60-90 mm (2.36-3.54 in)] [90-150 mm (3.54-5.90 in)].

#### Specified product: PAVER PEDESTAL by SOPREMA.

## VEGETATION

NOTE TO THE SPECIFIER: Vegetation is selected based on its resistance to cold, dry and extreme conditions. It is composed of herbaceous perennials (succulent, ground-cover, flowers, grasses and bulbous plants) and may include several hardy shrubs. The vegetation is sowed, planted or laid down (Sedum Mat and Modular System). Contact a SOPRANATURE representative for advices on appropriate plant types for the project.

### Seed:

#### Description: [   ]

## PRE-VEGETATED PRODUCTS

### Sedum Mats

#### Description: Variation of sedum mixtures pre-grown on a non-biodegradable carrier with a blend of organic and inorganic growing medium.

#### Specified product: SOPRANATURE SEDUM MATS by SOPREMA

### Modular System

#### Description: Variation of sedum mixtures pre-grown in a nursery inside a 100% recycled high density polyethylene container filled with an aggregate drainage layer and growing medium.

#### Specified product: SOPRANATURE MODULAR SYSTEM by SOPREMA

## FERTILIZERS, CONDITIONERS AND ADDITIVES

#### Specified Product: [   ]

## BALLAST

### River Gravel

#### Description: Gravel shall be round, washed, and exempt of dust, humidity, ice, snow and foreign objects. Nominal diameter is 38 mm (1.5 in).

### Pavers

#### Description: Prefabricated concrete pavers [of [     ] mm x [     ] mm x [     ] mm  ([     ] in x [     ] in x [     ] in) in thickness].

### Gravel (Crushed Stone)

#### Description: Hard aggregates; washed, clean, non-porous and free of overlong fragments, dust, humidity, ice, snow and any foreign object. They shall come from a recognized quarry and be intended for making concrete. Grain size shall be as specified below (any variance must be previously approved by the [owner] [architect]).

#### Grain size: [              ]

# Execution of work

## SURFACE EXAMINATION AND PREPARATION

#### Surface examination and preparation must be completed in conformance with instructions in the membrane manufacturer’s technical documentation.

#### Before roofing work begins, the owner's representative and roofing foreman will inspect and approve deck conditions (including slopes and wood grounds) as well as flashings at parapets, roof drains, plumbing vents, ventilation outlets and other construction joints. If necessary, a non-conformity notice will be issued to the contractor so that required corrections can be carried out. The start of roofing work will be considered as acceptance of conditions for work completion.

#### Test the capillary moisture rate with a polyethylene sheet as per ASTM D 4263 standard.

#### Do not begin any portion of work before surfaces are clean, smooth, dry, and free of ice and debris. Use of calcium or salt is forbidden for ice or snow removal.

#### Be sure plumbing, carpentry and all other works have been duly completed.

#### No materials will be installed during rain or snowfall.

#### Before landscaping work begins, the owner's representative and foreman of the roofing contractor will inspect and approve waterproofing membranes conditions as well as flashings at parapets, roof drains, plumbing vents, ventilation outlets and other construction joints. If necessary, a non-conformity notice will be issued to the contractor so that required corrections can be carried out. The start of landscaping work will be considered as acceptance of conditions for work completion.

## METHOD OF EXECUTION

#### NOTE TO THE SPECIFIER: When demolition work is required, or when work is needed on existing materials, be sure to respect the requirements of the workplace hazardous materials information system (whmis). Refer to section 01545: safety measures in the nms.

#### NOTE TO THE SPECIFIER: Refer to membrane manufacturer for pertinent specifications (according to site conditions) when base sheet membranes remain exposed without cap sheet for more than three (3) months.

#### Roofing work must be completed in a continuous fashion as surfaces are readied and as weather conditions allows it.

#### Ballast the light components that are likely to move around or fly away due to wind gusts.

#### NOTE TO THE SPECIFIER: Please retain the following clause in case of re-roofing where underlying structures must be protected.

#### Ensure waterproofing of roofs at all times, including protection during installation work by other trades and protection as work is completed (e.g. vents, drains, etc.).

## SITE PROTECTION

#### Protect the exposed surfaces of finished work to avoid damage during roof installation and material transportation. [Install walkways made of rigid boards over installed roofing materials to enable passage of people and transport of products.] Assume full responsibility for any damage.

## PREPARATION WORK – CONCRETE DECK

#### Prepare surfaces according to [manufacturer’s] [local authorities’] recommendations. Surfaces to be waterproofed with elastomeric bitumen membrane must have a Concrete Surface Profile (CSP) of 1 to 5 (CSP as per the International Concrete Repair Institute).

#### Reinforce all cracks, joints and junctions of less than 1.5 mm (1/16 in) wide with a 150 mm (6 in) wide strip of reinforcement fabric embedded in the rubberized asphalt.

#### Reinforce all cracks, joints and junctions of more than 1.5 mm (1/16 in) wide with a strip of reinforcement membrane embedded in the rubberized asphalt.

## PREPARATION WORK – METAL DECK

#### [Install acoustic insulation in deck flutes.]

#### [Adhere support panel using specified adhesive applied in continuous strips spaced [    ] on the field surface, [    ] on the perimeter, and [    ] on corners.]

#### [These boards must be screwed onto the steel deck's upper rib surfaces at a rate of [    ] mechanical fasteners per board.]

#### Cut boards so edges rest on centre of upper ribs. Cut straight lines with adequate tools.

#### Where slopes change, boards will be cleanly cut (avoid breaking boards) to acquire deck shape. Stagger boards perpendicularly to deck ribs for continuous support at extremities.

#### Board joints will be staggered, at half-length, and perfectly butted.

#### Joints will be sealed with a 150 mm (6 in) wide strip of reinforcement fabric embedded in the rubberized asphalt.

## PREPARATION WORK – PLYWOOD DECK

#### NOTE TO THE SPECIFIER: Before commencement of work, verify that the deck is built with 16 mm (⅝ in) thick tongue and groove plywood.

#### [Adhere support panel using specified adhesive applied in continuous strips spaced [    ] on the field surface, [    ] on the perimeter, and [    ] on corners.]

#### [These boards must be screwed onto the steel deck's upper rib surfaces [at a rate of [    ] mechanical fasteners per board] [, in conformance with Factory Mutual requirements, including the PLPDS 1-29, for fastening boards at roof corners and perimeters].]

#### Cut boards so edges rest on centre of upper ribs. Cut straight lines with adequate tools.

#### Where slopes change, boards will be cleanly cut (avoid breaking boards) to acquire deck shape. Place boards perpendicular to deck ribs for continuous support at extremities.

#### Board joints will be staggered, at half-length, and perfectly butted.

#### Joints will be sealed with a 150 mm (6 in) wide strip of reinforcement fabric embedded in the rubberized asphalt.

## APPLICATION OF HOT RUBBER WATERPROOFING MEMBRANE

### Installation of primer

#### Wooden, metallic, concrete, and masonry surfaces or gypsum support panels will receive a coat of primer at a rate of 0.15 to 0.25 L/m2 depending on the porosity of the substrate. All surfaces to be primed must be free of rust, dust or any residue that may hinder adherence. Primed surfaces must be covered with the roofing membrane as soon as possible.

### Installation of the hot rubber

#### NOTE TO THE SPECIFIER: Heat COLPHENE H in a double-jacketed, oil bath melter or air jacketed melter with a mechanical agitator, specifically designed for heating rubberized asphalt. Membrane shall be heated to, and maintained at a temperature range between 176 and 204°C (350 to 400°F), and oil-bath temperature of 260°C to 288 °C (500 to 550 °F) intermittently. All rubberized asphalt membrane heated and maintained in excess of the specified temperature ranges must be discarded and removed from the site.

#### Installation of all reinforcements must be completed before the installation of the hot rubber on the field of the roof.

#### Apply a uniform, monolithic first coat of 2.3 mm (90 mils) of hot rubber and immediately install the reinforcement fabric. Rolls of reinforcement fabric should overlap 25 to 50 mm (1 to 2 inches).

#### Cover the reinforcement with a uniform 3.2 mm (125 mils), monolithic second layer of hot rubber.

#### The total thickness should be approximately 5.5 mm (215 mils) but never less than 4.6 mm (180 mils).

#### Install a reinforcement membrane at all upstands and parapets as well as penetrations and projections.

#### Install a minimum 914 mm (36 in) reinforcement membrane centered on the roof drains and vent stacks.

## SEPARATOR SHEET INSTALLATION

#### Install separation sheet in hot rubber when still hot. Longitudinal overlaps should be 50 mm (2 in) and transversal overlaps 102 mm (4 in).

#### To avoid any damage resulting from prolonged exposure of the hot rubber, it is recommended to install the finishing materials as soon as possible, within a maximum of 30 days after the completion of the waterproofing works.

#### NOTE TO THE SPECIFIER: Use the following articles when specifying an EPDM expansion joint. Since the expansion joint is prefabricated and custom-made, it is imperative to fill the conception and preparation form of the expansion joint in order to allow the delivery of the product before commencement of works.

## INSTALLATION OF EXPANSION JOINTS

#### Identify the installation starting point of the expansion joint.

#### Unroll the entire roll before installation to ensure positioning and measurements are accurate.

#### Using a propane torch, heat the base sheet on which the expansion joint will be installed.

#### Place or unroll the expansion joint on the liquefied bitumen of the base sheet and apply pressure to the surface,

#### Weld a minimum of 150 mm (6 in) reinforcing strip centered on the edge of the flange and apply pressure to the surface.

#### Cover the flanges with a cap sheet membrane all the way up to the edge of the core and apply pressure to the surface.

#### According to surface constraints and when it is necessary to protect the core of the expansion joint, cover with a cap sheet of at least 330 mm (13 in), centered over the joint and fixed on one side to allow expansion movements, or use a steel plate, concrete or other mechanical protection.

## WATERPROOFING AROUND PROJECTIONS

#### Clean surfaces and apply a base coat of polyurethane sealant to all surfaces to be waterproofed.

#### Install a reinforcement strip at angle changes and add a layer of saturation.

#### Following the curing time specified on the technical data sheet, apply a finishing coat once the sealant is ready.

## INSTALLATION OF PITCH POCKETS

#### Surfaces must be clean, dry and free of debris, dust, non-adhered particles, oil, corrosion, condensation or other contaminants.

#### Metal surfaces and PVC pipes must be cleaned with non-greasy solvents, such as acetone or methyl ethyl ketone (MEK).

#### Lay out the precast blocks around the penetration so as to ensure a minimum gap of 25 mm (1 in) between the block inner wall and the penetration. Trace the outline for reference.

#### Using a standard cartridge extruder, seal the base of each penetration with the sealant and adhesive. Cover the penetration with sealant at least 25 mm (1 in) above the height of the precast blocks.

#### Under and at the ends of the precast blocks, on the flat surface, apply a 6 mm (1/4 in) bead around the perimeter and at the centre of the surface.

#### Place and align the precast blocks on the roof outline. Apply pressure on the precast blocks until product overflows from all sides of the precast blocks.

#### Apply a bead of the sealing product to the block joints and at the outer perimeter of the structure made of precast blocks. Use the tip of a trowel to bond the sealant and adhesive to the membrane.

#### For horizontal surfaces, completely fill the configuration with the sealing mastic.

#### For vertical surfaces, completely fill the configuration with the sealant and adhesive.

## WATERPROOFING FOR VARIOUS DETAILS

#### Install waterproofing membranes at various roofing details in conformance with typical details indicated in technical documentation of the manufacturer.

## INSTALLATION OF THE INSULATION

NOTE TO THE SPECIFIER: Since the components of the SOPRANATURE systems are loose laid, the insulation panels must be covered immediately after their installation. Ballast is required when immediate covering is not possible.

#### Lay down insulation boards flat on the roof. [Install additional layer of insulation board by ensuring that joints are staggered.]

## Installation of DRAINAGE BOARd

#### Install drainage board directly onto the insulation with the geotextile on top.

#### Unroll the drainage boards side by side and cut them along the parapets, upstands, vent stacks and roof drains.

## INSTALLATION OF ACCESSORIES AND BALLAST

#### Install protective borders, paver pedestals and ballast directly onto the drainage board at required locations.

## INSTALLATION OF SEPARATION FABRIC

#### Cover the interior of the protective borders and the drainage boards with the separation fabric.

#### Overlap the rolls of separation fabric by 305 mm (12 in).

## INSTALLATION OF capillary mat

NOTE TO THE SPECIFIER: Retain the following article when a capillary mat is required.

#### Unroll the capillary mats without overlapping them, directly onto drainage board and onto the separation fabrics.

## INSTALLATION OF GROWING MEDIUM

NOTE TO THE SPECIFIER: The proper depth of the growing medium depends upon the kind of vegetation and by technical analysis of the project. A minimum depth of 150 mm (6 in) is recommended in most Canadian climatic zones of 5 and under. In any case, a minimum of 100 mm (4 in) is necessary for plant survival in cold weather. Take compaction rate into consideration when calculating the required volume of a specific growing medium.

#### Spread the growing medium over the capillary mats and the separation fabrics.

#### Incorporate conditioners, fertilizers and additives to the top 20 mm of the growing medium when specified.

#### Distribute evenly with a rake.

#### Depth must be checked at multiple locations to ensure the surface is level, with a tolerance of ± 1 cm.

#### Water the growing medium to saturation.

#### Compact the growing medium with a 250 or 270 lb lawn roller, half-filled with water.

#### Minimum depth of the growing medium must be [ mm] after compaction.

## INSTALLATION OF VEGETATION

#### Seed or transplant vegetation, depending on type chosen.

#### Water the growing media to saturation.

#### [Install perennials according to the plans and specifications of the landscape architect or by the following density per square metre guidelines: [9 to 15] perennials in 100 mm pots; [20 to 50] perennials in micro-cells of [32 to 72] plants per tray; [1 to 5] shrubs in [1] [2] [5] gallon pots.]

[AND/OR]

#### Seed the turf or meadow at rates recommended by the seed agent, and as uniformly as possible. Lightly rake the surface to bury the seeds slightly then roll the surface with a light lawn roller.

[AND/OR]

#### Install sod rolls end to end. Roll the surface with a light lawn roller.

[AND/OR]

#### Unroll sedum mats side by side, staggered without overlapping the mats.

#### Water the sedum mats for 6 weeks to insure root establishment.

## INSTALLATION OF MODULAR SYSTEM

NOTE TO THE SPECIFIER: SOPRANATURE Modular System contains all the required components to allow plants to grow and flourish. The module allows for water retention and drainage of the excess of water.

#### Install the root barrier, the insulation panels and the drainage board

#### Lay the modules directly on the drainage board, aligned, side by side.

## MAINTENANCE OF GREEN ROOFING SYSTEMS

IMPORTANT: Ensure the owner is made aware of the following maintenance recommendations. Maintenance must be carried out in conformance with these directives. The green roof’s success depends in large part on following these recommendations. Maintenance can be carried out by the building owner or by the installation professional.

NOTE TO THE SPECIFIER: A water source (tap) must be installed before the beginning of work and must always be accessible close to all green roofs.

#### Water the growing medium to complete saturation before seeding or transplantation.

#### The growing medium must not dry out during the vegetation’s establishment period.

#### Irrigation is necessary depending on the climate and the plants’ requirements. It can be accomplished naturally (rain), manually (hose and/or watering can and/or sprinkler) or with an automatic irrigation system (drop by drop irrigation and/or sprinklers).

#### An automatic irrigation system is strongly recommended for 6 to 8 weeks when the surface has been seeded. In general, an irrigation system is recommended for the first and second growth season to support the vegetation’s establishment.

#### After the second year, extensive systems need irrigation only during prolonged dry spells. Semi-intensive systems need an irrigation system over the long term to ensure plant survival.

#### The irrigation system should be used when the vegetation is not completely composed of drought-resistant plants.

#### Maintenance of a green roofing system requires a variety of measures after vegetation is installed to ensure its durability. These operations include fertilization, weeding, pruning, mowing or harvesting, as well as collection of cuttings.

#### Four visits are recommended each year for the maintenance of green roofs, six visits for the care of semi-intensive terraces. The frequency of maintenance (weeding) can be higher during the first two years to ensure the dominance of the desired vegetation cover.

#### Fertilization of extensive green roof systems includes the light application of a slow-release organic or chemical fertilizer every two or three years. It is recommended to fertilize, water and trim extensive systems to a minimal extent, in order to stimulate establishment and foster resistance to drought and cold.

#### Semi-intensive systems require more fertilization. It is recommended to apply a slow-release granular fertilizer each year at the beginning of the growing season. Depending on the type of vegetation and the health conditions of the plants, one or more extra applications of a standard granular fertiliser may be done between the beginning of July and mid-August.

#### The growing medium must be watered to saturation before any application of soluble fertilizer to avoid burns and the leaching of nutrients to the roof drains.

#### Inspect and clean drains during every maintenance periods.

NOTE: BASED ON THE EVOLUTION OF KNOWLEDGE AND TECHNIQUES, SOPREMA INC. MAY MODIFY THE COMPOSITION AND/OR CONDITIONS OF USE OF ITS PRODUCTS WITHOUT PRIOR NOTICE. CONSEQUENTLY ORDERS WILL BE FILLED ACCORDING TO THE LATEST SPECIFICATIONS.

- END OF SECTION -