EPOXY FLOORING SYSTEM

ALSAN FLOOR EP

FOR A COMPLETE DESCRIPTION OF PRODUCTS AND APPLICABLE STANDARDS, PLEASE REFER TO THE TECHNICAL DATA SHEETS (SOPREMA SPECIFICATIONS MANUAL OR WEB SITE WWW.SOPREMA.CA).

PLEASE CONTACT A SOPREMA REPRESENTATIVE TO ASSIST IN THE DESIGN OF SPECIFICATIONS FOR A PARTICULAR PROJECT.

THE ELECTRONIC VERSION OF SOPREMA SPECS IS AVAILABLE ON OUR WEB SITE: WWW.SOPREMA.CA.

# GENERAL REQUIREMENTS

## DESCRIPTION

### This section specifies the requirements for the supply and installation of the required components of traffic areas flooring coatings, including surface preparation, primer, and self-leveling and finishing coats.

### Concrete floor coating system: ALSAN FLOOR EP by SOPREMA.

## [RELATED WORK]

### Division [              ] [              ]

## ADDITIONAL WORK TO BE PERFORMED BY THE SUBCONTRACTOR

### [     ]

## TECHNICAL DOCUMENTS

### Submit two (2) copies of the most current technical data sheets. These documents must describe the physical properties of the material, [and explanations about the membrane installation, including installation method, restrictions, limitations and other manufacturer’s recommendations.]

## CONTRACTOR QUALIFICATIONS

### The coating work shall be performed exclusively by skilled and certified applicators, employed by an experienced installation contractor operating all adequate and necessary equipment to execute such work.

## MANUFACTURER’S REPRESENTATIVE

### The coating materials manufacturer may delegate a representative to visit the work site at commencement of work.

### The contractor shall at all times permit and facilitate jobsite access to the manufacturer's representative cited above.

## MATERIALS STORAGE

### The materials shall be delivered to the work site in the sealed, undamaged original packaging.

### The packaging must indicate the lot number and manufacturing date of the product.

### The materials delivered shall be carefully stored [in a cool, dry area away from open flames] [and appropriately protected according to the manufacturer’s recommendations].

## QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

### The coating products manufacturer shall provide proof of ISO 9001 and ISO 14001 certifications.

## WORK SAMPLES

### Produce the work samples required in accordance with section [01 45 00 – Quality control].

### [Complete the first ten square meters] [Perform the equivalent of one day’s work] at the location [indicated] [determined by [the engineer] [the consultant]].  Do not continue the work unless such approval was granted by [the engineer] [the consultant].

## WARRANTIES

### The coating product manufacturer shall issue a written and signed document in the name of the owner, certifying the product will meet all the physical characteristic published by the manufacturer, for a period of 5 years, starting from the date of completion of installation of membranes. No letter amending the manufacturer’s standard warranty will be accepted and the warranty certificate must reflect these requirements.

# PRODUCTS

## PRIMERS

### Description: Two-component epoxy resin used as a primer on concrete.

#### Characteristics:

##### Colour part A:			Clear

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			870

##### Viscosity part B (cP):			2150

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 101 by SOPREMA.

## SELF-LEVELING COATS

### Description: Two-component epoxy resin used as self-leveling coat.

#### Characteristics:

##### Colour part A:			Grey

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			1400

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			> 2

#### Specified product: ALSAN FLOOR EP 801 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			Dark grey

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			1400

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 802 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			Pebble grey

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			1400

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 803 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			White

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			3000

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 804 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			Beige

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			3000

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 805 by SOPREMA.

## COLOURED FINISH COATS

### Description: Two-component epoxy resin used as coloured finish coat.

#### Characteristics:

##### Colour part A:			Grey

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			2700

##### Viscosity part B (cP):			500

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 901 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			Dark grey

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			2700

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 902 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			Pebble grey

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			2700

##### Viscosity part B (cP):			770

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 903 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			White

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			5000

##### Viscosity part B (cP):			500

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 904 by SOPREMA.

#### OR

#### Characteristics:

##### Colour part A:			Beige

##### Colour part B:			Yellowish

##### Viscosity part A (cP):			5000

##### Viscosity part B (cP):			500

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 905 by SOPREMA.

## CLEAR FINISH COAT

### Description: Two-component epoxy resin used as clear finish coat.

#### Characteristics:

##### Colour part A:			Clear

##### Colour part B:			Clear

##### Viscosity part A (cP):			1600

##### Viscosity part B (cP):			85

##### Solids by weight (%):			100

##### Bond strength (MPa):			< 2

#### Specified product: ALSAN FLOOR EP 951 by SOPREMA.

## ACCESSORY PRODUCTS

### AGGREGATE (silica sand): Minimum hardness of 6 on Moh’s scale.

#### Specified product: [       ].

### CRACK SEALANT: Solvent-free and low VOC, moisture cure polyether sealant (STPE) and contains no isocyanates.

#### Specified product: SOPRASEAL SEALANT by SOPREMA.

# EXECUTION

## EXAMINATION AND PREPARATION OF SURFACES

### Surface examination and preparation must be completed in conformance with recommendations in the SOPREMA Specifications Manual.

### Before the work begins, the owner's representative and the membrane contractor’s foreman will inspect and approve substrate condition and ensure that the related work has been properly executed. If necessary, a notice of non-compliance shall be issued to the contractor so that he proceeds with any required corrections.

### The decision to begin the application of materials constitutes an implied acceptance of the surface conditions.

### Do not begin any portion of work until the surfaces are dry, free of slurry, curing compounds or other non-adhering particles, as per manufacturer's instructions and recommendations.

### Before the installation of the coating system, the concrete must be cured (at least 28 days) with a minimum hardness of 24MPa (3,500psi).

### The concrete surface must be prepared so as to obtain a concrete surface profile (CSP) of 3 or 4 of the International Concrete Repair Institute (ICRI). In order to obtain these profiles, shot blasting with steel balls is recommended (ICRI – Technical Guideline – 310.2R-2013).

### The concrete substrate shall have a maximum moisture content of 75% RH (ASTM F2170) and 1.5 kg/100m²/24h (ASTM F1869) and shall be prepared as required to provide a minimum system adhesion of 200psi (1.4MPa) as per CAN/CSA-A23.1-04/A23.2-04 section 6B.

### Cracks of more than 1.6 mm (1/16 of an inch) must be repaired using SOPRASEAL SEALANT.

### All upstands (walls, columns, etc.) must also be prepared with SOPRASEAL SEALANT.

### If needed, concrete repairs must be done with a mix of ALSAN TRAFIK EP101 and silica sand 70.

## METHOD OF EXECUTION

### The waterproofing work must be executed continuously as surfaces are prepared and weather conditions permit.

### Protect adjacent surfaces against any damage resulting from installation work.

### The coating must not be installed when ambient air temperature or substrate temperature is less than 10°C (50°F).  Air temperatures must remain above 10°C (50°F) during the installation, and from 12 hours before until 12 hours after installation.

## EXECUTION EQUIPMENT

### Maintain equipment and tools clean and in good working order.

## INSTALLATION OF CRACK SEALANT

### Fill the cracks using the specified crack sealant.

## APPLICATION OF PRIMER (ALSAN FLOOR EP 101)

### Mix Part A for at least 2 to 3 minutes and add Part B.

### Mix thoroughly both parts for at least 2 to 3 minutes with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a homogeneous consistency; immediately pour the mix on the substrate.

### Cover the surface using a roller or a flat squeegee to obtain a wet film thickness of 254 micrometers (10 mils).

### The working life of the mixed material is 20 minutes at 22°C (72°F).

### The primer must be completely dry and tack free before the application of the self-leveling coat (maximum recoat window 72h).

## INSTALLATION OF THE SELF-LEVELING COAT (ALSAN FLOOR EP 801 to 805)

### Mix Part A for at least 2 to 3 minutes and add Part B.

### Mix thoroughly both parts for at least 2 to 3 minutes with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a homogeneous consistency; immediately pour the mix on the substrate.

### Cover the surface using a 6 mm (3/16 in) notched squeegee in order to obtain a wet film thickness of 635 micrometers (25 mil).

### The working life of the mixed material is from 65 to 85 minutes at 22°C (72°F).

### The self-leveling coat must be completely dry and tack free before the application of the coloured finish coat (maximum recoat window 72h).

## INSTALLATION OF THE COLOURED FINISH COAT (ALSAN FLOOR EP 901 TO 905)

### Mix Part A for at least 2 to 3 minutes and add Part B.

### Mix thoroughly both parts for at least 2 to 3 minutes with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a homogeneous consistency; immediately pour the mix on the substrate.

### Cover the surface using a roller or flat squeegee in order to obtain a wet film thickness of 254 micrometers (10 mils).

### The working life of the mixed material is from 75 minutes to 2 hours at 22°C (72°F).

### The coloured finish coat must be completely dry and tack free before the application of the clear finish coat (maximum recoat window 72h).

### Broadcast aggregates (silica sand) over the entire area to create a non-slip surface once the installation is completed.

## INSTALLATION OF THE CLEAR FINISH COAT (ALSAN FLOOR EP 951)

### NOTE: DECO FLAKES or COLOUR QUARTZ can be added to ALSAN FLOOR EP 900 coloured finish coat. These additions must be broadcasted on the coloured finish coat while the surface is still wet. If one of these options is considered, a clear ALSAN FLOOR EP 951 top coat must be applied when ALSAN FLOOR EP 900 is completely dry.

### Mix Part A for at least 2 to 3 minutes and add Part B.

### Mix thoroughly both parts for at least 2 to 3 minutes with a low speed mixer (300-450 rpm) and a “Jiffy” type mixing paddle in order to ensure a homogeneous consistency; immediately pour the mix on the substrate.

### Cover the surface using a roller or flat squeegee in order to obtain a wet film thickness of 300 micrometers (12 mils).

### The working life of the mixed material is 2 hours at 22°C (72°F).

### The clear finish coat must be completely dry and tack free before the application of the clear finish coat (maximum recoat window 72h).

Note:  SOPREMA INC. may modify the composition and/or utilisation of its products without prior notice.  Consequently, orders will be filled according to the latest specifications.

- END OF SECTION -