SOPREMA 
HOT RUBBERIZED ASPHALT WATERPROOFING 
SPECIFICATION

THESE SPECIFICATIONS CONTAIN ALL SPECIFICATIONS FOR SOPREMA HOT RUBBERIZED ASPHALT ROOFING MEMBRANE SYSTEM.

THE EDITOR SHOULD CONTACT A SOPREMA REPRESENTATIVE TO GET ASSISTANCE FOR THE ADAPTATION OR COMPLETION OF SPECIFICATIONS ACCORDING TO THE PARTICULAR CONDITIONS RELATED TO EACH PROJECT.

IMPORTANT: PLEASE BE SURE TO READ THE POLICY STATEMENT IN THE IMPORTANT NOTICES SECTION IN THE FIRST PAGES OF THE SOPREMA RING BINDER.

FOR A COMPLETE DESCRIPTION OF PRODUCTS AND APPLICABLE STANDARDS, PLEASE REFER TO THE TECHNICAL DATA SHEETS ON OUR WEBSITE AT WWW.SOPREMA.CA.

THE ELECTRONIC VERSION OF OUR SPECIFICATIONS IS ALSO AVAILABLE ON SOPREMA’S WEBSITE.

# General

## REFERENCE STANDARD[S]

#### NOTE TO THE SPECIFIER: The designer of the waterproofing system should investigate with the client which requirements apply to a particular project. Applicable building regulations must be followed. Consult provincial roofing associations, since they could have special requirements, particularly if they offer warranties.

#### NOTE TO THE SPECIFIER: The National Building Code requires that all roofs, except when permitted (tents, inflatable structures, certain small “assembly occupancy” buildings), must be Class A, B, or C, as determined in accordance with CAN/ULC-S107-10 “Standard Methods of Fire Tests of Roof Coverings.”

#### [Membranes must meet or exceed requirements of CAN/CGSB 37.50–M89, Hot-Applied, Rubberized Asphalt for Roofing and Waterproofing.]

#### [Roofing system must meet or exceed requirements of CAN/ULC-S107-10, Methods of Fire Tests of Roof Coverings, Class [A] [B] [C].]

#### [Extruded polystyrene insulation boards must meet or exceed requirements of CAN/ULC-S701-11, Expanded Polystyrene Insulation Board and Pipe Covering.]

#### [Ballast must meet  or exceed requirements of ASTM D 1863-05, Standard Specification for Mineral Aggregate Used on Built-Ups Roofs.]

#### Standard terminology related to roofing and waterproofing as per ASTM D 1079.

## COMPATIBILITY

#### All waterproofing materials will be provided by the same manufacturer.

## TECHNICAL DOCUMENTS

#### Submit two (2) copies of the most current technical data sheets. These documents must describe the physical properties of materials [and explanations about product installation, including restrictions, limitations and other manufacturer recommendations].

## QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

#### NOTE TO THE SPECIFIER: Certificates of qualification may be part of the documents required for submission. Where applicable, these requirements shall be part of the call for tender(s).

#### The manufacturer of elastomeric bitumen products will provide proof of ISO 9001 and ISO 14001 Certifications.

## CONTRACTOR QUALIFICATIONS

#### Roofing contractors and sub-contractors must, when tendering and during works, possess a roofing contractor operating license.

#### [Roofing contractors and sub-contractors must also be [registered with SOPREMA’s PAQ + S program] [recognized installers], and provide the architect with a written certificate issued by SOPREMA to this effect before beginning any roofing work.]

## MATERIALS STORAGE AND DELIVERY

#### All materials will be delivered and stored in their original packaging, in conformance with the requirements described in the manufacturer’s technical documentation.

#### At all times, materials will be adequately protected and stored in a dry and properly ventilated area, away from any welding flame or spark, and sheltered from the elements and any harmful substances.

#### Store adhesives and solvent-based mastics at a minimum of 5 °C (41 °F).

#### Materials delivered in rolls will be carefully stored upright; flashings will be stored to avoid wrinkling, buckling, scratches or any other possible damage.

#### Avoid gathering construction materials on the roof, which may affect the structural integrity by imposing loads exceeding what is admissible.

## FIRE PROTECTION

#### Prior to the start of work, conduct a site inspection to ensure its safety in order to minimize fire risks and hazards.

#### Respect safety measures recommended by the related local authorities.

#### At the end of each workday, use a heat detector gun to spot any smouldering or concealed fire. Job planning must be organized to ensure workers are still on location at least […] hour[s] after welding works. An inspection must be performed by an employee of the roofing contractor who specializes in this kind of job at the end of works and, if necessary, with the help of a member of the fire protection service of the city.

#### Never apply the torch directly to flammable materials.

#### Throughout roofing installation, maintain a clean site and have a fire hose (when possible) and at least one ULC-approved Class A, B or C fire extinguisher, charged and in perfect operating condition, within 6 m (20 ft) of each torch. Respect all safety measures described in technical data sheets of sealants. Welding torches must never be placed near combustible or flammable products, nor be used where the flame is not visible or cannot be easily controlled.

## WARRANTIES

#### NOTE TO THE SPECIFIER: Please refer to the national master specifications (nms) for federal government contracts. For other works, please refer to the following term(s). For more information on roofing membrane warranty, please consult SOPREMA's warranties (of which terms must in no way be modified).

#### NOTE TO THE SPECIFIER: Retain the following article when a material and workmanship warranty (SOPREMA MAMMOUTH PLATINUM HOT RUBBER warranty) is requested (warranty of the membrane manufacturer).

#### The membrane manufacturer will issue a written document in the owner’s name, valid for a [   ]-year period, stating that it will repair any leaks in the roofing membrane to restore the roofing system to a dry and watertight condition, to the extent that manufacturing or installation defects of one or several components caused such water infiltration. The warranty must cover the total cost of repair(s) during the entire warranty period. The warranty must be transferable, at no extra cost, to subsequent building owners. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when a material and workmanship warranty (SOPREMA MAMMOUTH PLUS HOT RUBBER warranty) is requested (warranty of the membrane manufacturer).

#### The membrane manufacturer will issue a written document in the owner’s name, valid for a [   ]-year period, stating that it will repair any leaks in the roofing membrane to restore the roofing system to a dry and watertight condition, to the extent that manufacturing defects of one or several components caused such water infiltration. The warranty must cover the total cost of repair(s) during the entire warranty period. The warranty must be transferable, at no extra cost, to subsequent building owners. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when requesting a materials warranty (warranty from the membrane manufacturer).

#### The membrane manufacturer will issue a written and signed document in the owner's name, certifying that the roofing membranes are free of manufacturing defects for a period of ten (10) years, starting from the date of completion of membrane installation. This warranty will cover the removal and replacement of defective roof membrane products, including workmanship. The warranty must remain full and complete for the duration of the period specified. The warranty certificate must reflect these requirements.

#### NOTE TO THE SPECIFIER: Retain the following article when requesting a workmanship warranty (warranty from the roofing contractor).

#### The contractor will provide a written and signed document to the owner’s name certifying that the work executed will remain in place and free of waterproofing defect for a [   ]-year period from the date of acceptance.

#### NOTE TO THE SPECIFIER: Some local roofing associations issue waterproofing warranties complementary to those previously mentioned. Please consult these local associations for the terms and conditions of these warranties.

#### [The contractor will provide [local association] a certificate of warranty for this project, valid for a [   ]-year period.]

# Products

## SUPPORT PANEL

#### NOTE TO THE SPECIFIER: Hot rubber cannot be installed directly on to steel deck. a rigid support panel is required to provide a suitable substrate. Support panels may also be used on wood or concrete decks where the roughness of the substrate may result in damage to the membrane or inadequate adhesion. Choose the support panel best suited to roof substrate. Take into consideration humidity conditions of adjacent premises as well as general installation conditions.

### Gypsum-Fibre Roof Board

#### Description: glass fibre-covered roof board [ [ ]-mm-thick].

#### In conformance with: ASTM E84 and ASTM C1177

#### Specified product: [   ]

### Gypsum-Fibre Board

#### Description: Fibre reinforced gypsum board [ [ ]-mm-thick].

#### In conformance with: ASTM C 1278

#### Specified product: [   ]

### Plywood

#### Description: prefabricated panel consisting of sheets of veneer glued together [ [ ]-mm-thick].

#### In conformance with: CSA O121, CSA 0151 or CSA 0153

#### Specified product: [   ]

## WATERPROOFING MEMBRANE

### Hot rubber

#### Description: Hot applied waterproofing membrane composed of elastomeric polymers, asphalt and mineral fillers.

#### In conformance with: CAN/CGSB-37.50-M89

#### Specified product: COLPHENE H by SOPREMA

### Reinforcement fabric

#### Description: Spun bonded polyester-nylon fabric reinforcing sheet.

#### Specified product: SOPRAFLASH R by SOPREMA

### Reinforcement membrane

#### Description: Uncured chloroprene rubber (neoprene) 1.5 mm (60 mils) reinforcing membrane.

#### Specified product: SOPRAFLASH UN by SOPREMA

## PRIMER

### Primer for hot rubber waterproofing membrane

#### Description: Primer made of bitumen, volatile solvents and adhesive resins. Used as primer to improve the adhesion of waterproofing membranes.

#### Specified product: ELASTOCOL 500 by SOPREMA.

## INSULATION

### Extruded Polystyrene Insulation

#### Description: Rigid thermal insulation board made of rigid extruded polystyrene with shiplap edges on all four sides. It is composed of closed cell foam.

#### In conformance with: CAN/ULC-S701-11, Type 4.

#### Specified product: SOPRA-XPS 35 by SOPREMA

## SEPARATION SHEET

### Polyethylene Film

#### Description: 0.12mm (5 mil) thick, extruded polyethylene film.

#### Specified product: [   ]

### Bituminous Board

#### Description: Semi-rigid roofing support panel composed of a mineral-reinforced asphaltic core between two asphalt-saturated fibreglass liners. Length of 1.2 m (3.93 ft), width of [1.5 m (4.92 ft)] [2.43 m (7.97 ft)] and thickness of [3.2 mm (0.12 in)] [4.8 mm (0.18 in)] [6.4 (0.25 in)].

#### Specified product: SOPRABOARD by SOPREMA.

## FILTER LAYER

#### Description: Filter fabric sheet made of non-woven, continuous synthetic fibres, evenly distributed.

#### Specified product: SOPRAFILTRE by SOPREMA.

## BALLAST

### Pavers

#### Description: Prefabricated concrete pavers [of [     ] mm x [     ] mm x [     ] mm  ([     ] in x [     ] in x [     ] in) in thickness].

### Gravel (Crushed Stone)

#### Description: Hard aggregates; washed, clean, non-porous and free of overlong fragments, dust, humidity, ice, snow and any foreign object. They shall come from a recognized quarry and be intended for making concrete. Grain size shall be as specified below (any variance must be previously approved by the [owner] [architect]).

#### Grain size: [              ]

## ACCESSORY MEMBRANES

### Synthetic rubber expansion joint

#### Description: Monolithic expansion joint comprised of two flanges coated on the surface and underface with a woven oxidized and stabilized polyacrylonitrile, with an expandable core made of EPDM-based synthetic rubber (Ethylene-Propylene-Diene-Monomer).

#### Specified product: SOPRAJOINT PLUS [20] [40] [75] [125] membrane by SOPREMA.

## ROOF DRAIN

### Drain

#### Description: Roof drain designed to collect rainwater on roofs.

#### Specified product: [   ]

### Roof vent

#### Description: Roof vent designed to ensure watertightness around the main plumbing vent system on roofs.

#### Specified product: [   ]

## ADHESIVES

### Support panel adhesive

#### Description: Two-component, quick-setting, low-expansion foam urethane adhesive that can be applied at any temperature.

#### Specified product: DUOTACK [365] by SOPREMA

## FASTENERS

### Support panel fasteners

#### Description: [pre-assembled] fasteners with #[   ] self-tapping screws, with washer of [   ] mm in diameter.

#### Specified product: [   ]

## COMPLEMENTARY WATERPROOFING PRODUCTS

#### NOTE TO THE SPECIFIER: Use the products described below for all sealing products in contact with the waterproofing membrane. It is recommended to use SOPRAMASTIC ALU when the mastic is left exposed because the aluminum pigments provide a greater resistance to elements:

### Waterproofing Mastic

#### Description: Multi-purpose mastic composed of SBS modified bitumen, fibres, [aluminum pigments,] mineral fillers and solvents.

#### Specified product: SOPRAMASTIC [ALU] by SOPREMA

### Pitch Pocket Filler

#### Description: Polyester-made precast blocks of various sizes a single-component, polyether-based mastic and a single-component, polyether based sealant and adhesive.

#### Specified product: SOPRAMASTIC BLOCK SYSTEM by SOPREMA

### Sealing Product

#### Description: Bitumen/polyurethane waterproofing mono-component resin and polyester reinforcement.

#### Specified products: ALSAN FLASHING and ALSAN REINFORCEMENT by SOPREMA

## PAVER PEDESTALS

#### NOTE TO THE SPECIFIER: Use this article when ballast specified are pavers or when paver pedestals are specified:

#### Description: [Fixed] [Adjustable] polypropylene paving blocks support for pedestrian traffic terraces. The head screw nut assembly and the slope corrector allow for the adjusting and levelling of paving blocks.

#### Height: [35 mm (1.37 in)] [40-60 mm (1.58-2.64 in)] [60-90 mm (2.36-3.54 in)] [90-150 mm (3.54-5.90 in)]

#### Specified product: PAVER PEDESTAL by SOPREMA

# Execution of work

## SURFACE EXAMINATION AND PREPARATION

#### Surface examination and preparation must be completed in conformance with instructions in the membrane manufacturer’s technical documentation.

#### Before roofing work begins, the owner's representative and roofing foreman will inspect and approve deck conditions (including slopes and wood grounds) as well as flashings at parapets, roof drains, plumbing vents, ventilation outlets and other construction joints. If necessary, a non-conformity notice will be issued to the contractor so that required corrections can be carried out. The start of roofing work will be considered as acceptance of conditions for work completion.

#### Test the capillary moisture rate with a polyethylene sheet as per ASTM D 4263 standard.

#### Do not begin any portion of work before surfaces are clean, smooth, dry, and free of ice and debris. Use of calcium or salt is forbidden for ice or snow removal.

#### Be sure plumbing, carpentry and all other works have been duly completed.

#### No materials will be installed during rain or snowfall.

## METHOD OF EXECUTION

#### NOTE TO THE SPECIFIER: When demolition work is required, or when work is needed on existing materials, be sure to respect the requirements of the workplace hazardous materials information system (WHMIS). Refer to section 01545: safety measures in the NMS.

#### NOTE TO THE SPECIFIER: Refer to membrane manufacturer for pertinent specifications (according to site conditions) when base sheet membranes remain exposed without cap sheet for more than three (3) months.

#### Roofing work must be completed in a continuous fashion as surfaces are readied and as weather conditions allows it.

#### It’s preferable to seal all joints that are not covered by a cap sheet membrane the same day. A second cap sheet cannot be installed if any moisture is present in joints.

#### NOTE TO THE SPECIFIER: Please retain the following clause in case of re-roofing where underlying structures must be protected.

#### Ensure waterproofing of roofs at all times, including protection during installation work by other trades and protection as work is completed (e.g. vents, drains, etc.).

## SITE PROTECTION

#### Protect the exposed surfaces of finished work to avoid damage during roof installation and material transportation. [Install walkways made of rigid boards over installed roofing materials to enable passage of people and transport of products.] Assume full responsibility for any damage.

## PREPARATION WORK – CONCRETE DECK

#### Prepare surfaces according to [manufacturer’s] [local authorities’] recommendations. Surfaces to be waterproofed with elastomeric bitumen membrane must have a Concrete Surface Profile (CSP) of 1 to 5 (CSP as per the International Concrete Repair Institute).

#### Reinforce all cracks, joints and junctions of less than 1.5 mm (1/16 in) wide with a 150 mm (6 in) wide strip of reinforcement fabric embedded in the rubberized asphalt.

#### Reinforce all cracks, joints and junctions of more than 1.5 mm (1/16 in) wide with a strip of reinforcement membrane embedded in the rubberized asphalt.

## PREPARATION WORK – METAL DECK

#### [Install acoustic insulation in deck flutes.]

#### [Adhere support panel using specified adhesive applied in continuous strips spaced [    ] on the field surface, [    ] on the perimeter, and [    ] on corners.]

#### [These boards must be screwed onto the steel deck's upper rib surfaces at a rate of [    ] mechanical fasteners per board.]

#### Cut boards so edges rest on centre of upper ribs. Cut straight lines with adequate tools.

#### Where slopes change, boards will be cleanly cut (avoid breaking boards) to acquire deck shape. Stagger boards perpendicularly to deck ribs for continuous support at extremities.

#### Board joints will be staggered, at half-length, and perfectly butted.

#### Joints will be sealed with a 150 mm (6 in) wide strip of reinforcement fabric embedded in the rubberized asphalt.

## PREPARATION WORK – PLYWOOD DECK

#### NOTE TO THE SPECIFIER: Before commencement of work, verify that the deck is built with 16 mm (⅝ in) thick tongue and groove plywood.

#### [Adhere support panel using specified adhesive applied in continuous strips spaced [    ] on the field surface, [    ] on the perimeter, and [    ] on corners.]

#### [These boards must be screwed onto the steel deck's upper rib surfaces [at a rate of [    ] mechanical fasteners per board] [, in conformance with Factory Mutual requirements, including the PLPDS 1-29, for fastening boards at roof corners and perimeters].]

#### Cut boards so edges rest on centre of upper ribs. Cut straight lines with adequate tools.

#### Where slopes change, boards will be cleanly cut (avoid breaking boards) to acquire deck shape. Place boards perpendicular to deck ribs for continuous support at extremities.

#### Board joints will be staggered, at half-length, and perfectly butted.

#### Joints will be sealed with a 150 mm (6 in) wide strip of reinforcement membrane embedded in the rubberized asphalt.

## Installation of primer

#### Wooden, metallic, concrete, and masonry surfaces or gypsum support panels will receive a coat of primer at a rate of 0.15 to 0.25 L/m2 depending on the porosity of the substrate. All surfaces to be primed must be free of rust, dust or any residue that may hinder adherence. Primed surfaces must be covered with the roofing membrane as soon as possible.

## Installation of the hot rubberIZED ASPHALT SYSTEM

#### NOTE TO THE SPECIFIER: Heat COLPHENE H in a double-jacketed, oil bath melter or air jacketed melter with a mechanical agitator, specifically designed for heating rubberized asphalt. Membrane shall be heated to, and maintained at a temperature range between 176 and 204°C (350 to 400°F), and oil-bath temperature of 260°C to 288 °C (500 to 550 °F) intermittently. All rubberized asphalt membrane heated and maintained in excess of the specified temperature ranges must be discarded and removed from the site.

#### Installation of all reinforcements must be completed before the installation of the hot rubber on the field of the roof.

#### Apply a uniform, monolithic first coat of 2.3 mm (90 mils) of hot rubber and immediately install the reinforcement fabric. Rolls of reinforcement fabric should overlap 25 to 50 mm (1 to 2 inches).

#### Cover the reinforcement with a uniform 3.2 mm (125 mils), monolithic second layer of hot rubber.

#### The total thickness should be approximately 5.5 mm (215 mils) but never less than 4.6 mm (180 mils).

#### Install a reinforcement membrane at all upstands and parapets as well as penetrations and projections.

#### Install a minimum 914 mm (36 in) reinforcement membrane centered on the roof drains and vent stacks.

## Installation of the separator sheet

#### Install separation sheet in hot rubber when still hot. [Longitudinal overlaps should be 50 mm (2 in) and transversal overlaps 102 mm (4 in)] [Install bituminous boards, juxtaposed, without overlapping them.]

#### To avoid any damage resulting from prolonged exposure of the hot rubber, it is recommended to install the finishing materials as soon as possible, within a maximum of 30 days after the completion of the waterproofing works.

## INSTALLATION OF INSULATION, FILTER CLOTH, DRAINAGE BOARD AND BALLAST

#### Inspect the field of the roof, upstands, parapets and projections, repair if necessary.

#### Install insulation boards, filter cloth or drainage board as each section is completed.

#### NOTE TO THE SPECIFIER: Refer to the specifications provided by the provincial roofing contractors association for the quantity of ballast to install and the quantity of ballast to be added according to the thickness of the insulation.

#### Spread ballast at a rate of [   ] on the field of the roof, [   ] at the perimeter and [   ] in the corners.

#### NOTE TO THE SPECIFIER: Use the following articles when specifying an EPDM expansion joint. Since the expansion joint is prefabricated and custom-made, it is imperative to fill the conception and preparation form of the expansion joint in order to allow the delivery of the product before commencement of works.

## INSTALLATION OF EXPANSION JOINTS

#### Identify the installation starting point of the expansion joint.

#### Unroll the entire roll before installation to ensure positioning and measurements are accurate.

#### Using a propane torch, heat the base sheet on which the expansion joint will be installed.

#### Place or unroll the expansion joint on the liquefied bitumen of the base sheet and apply pressure to the surface,

#### Weld a minimum of 150 mm (6 in) reinforcing strip centered on the edge of the flange and apply pressure to the surface.

#### Cover the flanges with a cap sheet membrane all the way up to the edge of the core and apply pressure to the surface.

#### According to surface constraints and when it is necessary to protect the core of the expansion joint, cover with a cap sheet of at least 330 mm (13 in), centered over the joint and fixed on one side to allow expansion movements, or use a steel plate, concrete or other mechanical protection.

## WATERPROOFING AROUND PROJECTIONS

#### Clean surfaces and apply a base coat of polyurethane sealant to all surfaces to be waterproofed.

#### Install a reinforcement strip at angle changes and add a layer of saturation.

#### Following the curing time specified on the technical data sheet, apply a finishing coat once the sealant is ready.

## INSTALLATION OF PITCH POCKETS

#### Surfaces must be clean, dry and free of debris, dust, non-adhered particles, oil, corrosion, condensation or other contaminants.

#### Metal surfaces and PVC pipes must be cleaned with non-greasy solvents, such as acetone or methyl ethyl ketone (MEK).

#### Lay out the precast blocks around the penetration so as to ensure a minimum gap of 25 mm (1 in) between the block inner wall and the penetration. Trace the outline for reference.

#### Using a standard cartridge extruder, seal the base of each penetration with the sealant and adhesive. Cover the penetration with sealant at least 25 mm (1 in) above the height of the precast blocks.

#### Under and at the ends of the precast blocks, on the flat surface, apply a 6 mm (1/4 in) bead around the perimeter and at the centre of the surface.

#### Place and align the precast blocks on the roof outline. Apply pressure on the precast blocks until product overflows from all sides of the precast blocks.

#### Apply a bead of the sealing product to the block joints and at the outer perimeter of the structure made of precast blocks. Use the tip of a trowel to bond the sealant and adhesive to the membrane.

#### For horizontal surfaces, completely fill the configuration with the sealing mastic.

#### For vertical surfaces, completely fill the configuration with the sealant and adhesive.

## WATERPROOFING FOR VARIOUS DETAILS

#### Install waterproofing membranes at various roofing details in conformance with typical details indicated in technical documentation of the manufacturer.

NOTE: BASED ON THE EVOLUTION OF KNOWLEDGE AND TECHNIQUES, SOPREMA INC. MAY MODIFY THE COMPOSITION AND/OR CONDITIONS OF USE OF ITS PRODUCTS WITHOUT PRIOR NOTICE. CONSEQUENTLY ORDERS WILL BE FILLED ACCORDING TO THE LATEST SPECIFICATIONS.

- END OF SECTION -